## Sheet1
Model T300U
| Date Received: |  |  | CCID # :
| Date of Test: |  |  | Serial # :
Technician:
Inspect for External Shipping Damage:
Any found?
Inspect for Internal Shipping Damage:
Any found?
Order complete?
List accessories:
List options:
CO Gas Challenge - 50 PPM Range |  |  |  |  | As Found | As Left
Int Slope
Int Offset
Flow
| Level | Indicated | Known ppm | Difference - Before Adj | Tolerance | Pass
| Zero |  | 0 | 0
| 9 |  | 9 | -100% | ± 7% | Fail
| 20 |  | 20 | -100% | ± 7% | Fail
| 30 |  | 30 | -100% | ± 7% | Fail
| 40 |  | 40 | -100% | ± 7% | Fail
| If Needed |  | Known ppm | Difference - After Adj
| Zero |  | 0 | 0
| 9 |  | 9 | -100% | ± 7% | Fail
| 20 |  | 20 | -100% | ± 7% | Fail
| 30 |  | 30 | -100% | ± 7% | Fail
| 40 |  | 40 | -100% | ± 7% | Fail
Analog Output Test 0-1 VDC Range
| Level | Indicated VDC
Zero
20%
40%
60%
80%
100%