## Sheet1
Model T100U
| Date Received: |  |  | CCID # :
| Date of Test: |  |  | Serial # :
Technician:
Inspect for External Shipping Damage:
Any found?
Inspect for Internal Shipping Damage:
| Any found? | None
Order complete?
| List accessories: | none
| List options: | none
SO2 Gas Challenge -100 PPB Range |  |  |  |  | As Found | As Left
Int Slope
Int Offset
Flow
| Level | Indicated PPB | Known ppb | Difference - Before Adj | Tolerance | Pass
| Zero |  | 0 | 0
| 10 ppb |  | 10 | -100% | ± 7% | Fail
| 50 ppb |  | 50 | -100% | ± 7% | Fail
| 70 ppb |  | 70 | -100% | ± 7% | Fail
| 90 ppb |  | 90 | -100% | ± 7% | Fail
| If Needed |  | Known ppb | Difference - After Adj
| Zero |  | 0 | 0
| 10 ppb |  | 10 | -100% | ± 7% | Fail
| 50 ppb |  | 50 | -100% | ± 7% | Fail
| 70 ppb |  | 70 | -100% | ± 7% | Fail
| 90 ppb |  | 90 | -100% | ± 7% | Fail
Analog Output Test 0-1 VDC Range
| Level | Indicated VDC
Zero
20%
40%
60%
80%
100%