## Sheet1
Model T500U
| Date Received: |  |  | CCID # :
| Date of Test: |  |  | Serial # :
Technician:
|  |  | Inspect for External Shipping Damage: | yes
| Any found? | none
|  |  | Inspect for Internal Shipping Damage: | yes
| Any found? | none
|  |  | Order complete? | yes
List accessories:
List options:
NO2 Gas Challenge - .5 PPM Range |  |  |  |  | As Found | As Left
Int Slope
Int Offset
| Level-PPB | Indicated | Known ppb | Difference - Before Adj | Tolerance | Pass
| Zero |  | 0 | 0
| 50 |  | 50 | -100% | ± 10% | Fail
| 200 |  | 200 | -100% | ± 10% | Fail
| 300 |  | 300 | -100% | ± 10% | Fail
| 400 |  | 400 | -100% | ± 10% | Fail
| If Needed |  | Known ppb | Difference - After Adj
| Zero |  | 0 | 0
| 50 |  | 50 | -100% | ± 10% | Fail
| 200 |  | 200 | -100% | ± 10% | Fail
| 300 |  | 300 | -100% | ± 10% | Fail
| 400 |  | 400 | -100% | ± 10% | Fail
Analog Output Test 0-1 VDC Range
| Level | Indicated VDC
Zero
20%
40%
60%
80%
100%